[image: image1.jpg]# PARKVIEW
HEALTH LABORATORIES






Labview 


FOR CLIENTS OF PARKVIEW HEALTH LABORATORIES	December 2012





Recall





The manufacturer of the BD brand blue-top (Sodium-Citrate) blood collection tubes has issued a recall on lot #2180434.  Some of these tubes may be contaminated with heparin.  Any tubes from this lot number should be pulled from stock immediately, and returned to one of the Parkview laboratories for exchange.   


Parkview Laboratories were using this lot number from September 1st through December 11, 2012.  If any coagulation results performed during this time did not match the clinical presentation, Parkview Health Laboratories will retest the patient at no charge.  Please contact Dr. Wan at 260-266-1630, or our Client Response Center at 260-266-1500 with questions or recollection information.





Parkview Regional Medical Center


Parkview Hospital Randallia


Parkview Huntington Hospital


Parkview Whitley Hospital


Parkview North Hospital


Parkview Noble Hospital


And Parkview Lagrange Hospital 





�








